Subject: Following up — whole-house rewire & all-electric conversion (2706 Leslie Dr NE)

Hi [Name],

Thanks again for the earlier estimate. We've firmed up our plans and would love to re-engage and get an updated quote. Since your original estimate has expired, a fresh dated version would be great.

Here's the scope we're after:

Full rewire of the house — we want the old braided/cloth wiring removed (not just the accessible runs) and replaced throughout.

All switches, outlets, and plates replaced and re-fed, not just swapped where convenient.

Convert the home to all-electric. We currently have gas water heater and gas heat, and we'd like the electrical to support replacing those with electric (heat pump, electric water heater), plus electric range/dryer as applicable.

One EV charger (Level 2).

Solar-ready: we plan to add solar panels in a few years, so we'd like the panel/service set up to accommodate a future solar backfeed without rework.

A few questions so we can compare apples to apples:

Service size: We're currently on 150A. Given the all-electric conversion + one EV + future solar, can you run an NEC load calculation and tell us whether you'd recommend 200A or 400A? We'd like to see both priced, with a note on what each one rules in or out down the road.

Utility: Will Georgia Power support the recommended service here, and is there any utility-side cost or lead time?

Solar-ready: What's needed now (panel space, breaker position, busbar rating) so adding solar later is straightforward?

Devices & scope: Please confirm the quote includes all receptacles, switches, plates, and any reconfigured areas — and flag anything counted as "new" that bills separately.

Drywall: Does the quote include patching the walls/ceilings opened during rewiring, or is that on us?

Old wiring: Confirm full removal and haul-off of the existing braided wiring.

Permits/inspection: Confirm you pull all permits and handle inspections.

Smoke/CO: Confirm detector count meets current code for the full house.

Terms: Could you share the payment schedule (deposit + milestones tied to completed/inspected work), license #, insurance, and workmanship warranty?

One more note for context: we'll be renting the property out afterward, so code-compliance and clean inspections are important to us.

Thanks so much — happy to walk the house with you again if that helps you scope it. Looking forward to the updated estimate.

Best,

[Your name]

[Phone]